The Wayne County Sheriff’s Office/ Workhouse is accepting bids for the following project:

Shower resurfacing

Project will include strip and resurface twelve (12) cement block showers in a correctional facility. The resurfacing coverage area is to be mold resistant. Each shower is 3 feetx3 feet x 8 feet. There is a six (6) inch partition wall between each shower. Five showers have raised thresholds at entrance measuring 6 inches by 4 inches. Three showers have an additional 10-inch wall section on the front of the shower entrance. The total coverage area for the project is approximately 1,033.5 square feet.

Project description: The shower walls are currently covered from floor to ceiling with multiple coatings of paint and sealers. The installer will remove all coatings and ensure the surface is completely prepared to be resurfaced. The installer will provide all materials and labor for the preparation and installation, except for shower hardware which will be completed by county maintenance employees. The installer is responsible for removing and disposing of the current finish, as well as dust and containment collection resulting from the removal and installation. The installer is responsible for removing all waste material produced as a result of project completion.   
The scope of the work can be reviewed upon request through the Wayne County Sheriff’s Office/Workhouse.

Project contact: Capt. Sheryl Devers @ 931-722-9746

Wayne County reserves the right to refuse or reject any and all bids.

Wayne County does not discriminate based on race, color, national origin, religion, sex, gender identity (including gender expression), sexual orientation, disability, age, marital status, family/parental status, or political beliefs.